## Slide 2
HR0.0
HR0.7
C0.0
HR0.1
C0.1
HR0.2
C0.2
HR0.3
HR0.4
HR0.0
C0.3
HR0.6
HR0.4
C0.4
HR0.5
HR0.2
C0.5
HR0.6
HR0.3
C0.6
HR0.7
HR0.5
C0.7
Rung0
Rung1
Rung2
Rung3
Rung4
Rung5
Rung6
Rung7

## Slide 3
Level 1
OT Field PLCs Emulator LAN
Level 2
PLC Controller
Program LAN
M221 PLC Emulator
M221 PLC Emulator
S71200 PLC Emulator
1 to 1 PLC controller
[Modbus]
1 to N PLC controller {Modbus]
Mixed PLC controller [Modbus & S7comm]
Modbus-TCP bus
S7Comm bus
PLC Configuration Interface
Unauthorized PLC config change http(s) request
OT attack Program
FCI-OT-Attack Modbus request
Controller Modbus request
Controller S7comm request
PLC state report
(http/https)
PLC VM working Log files
Network traffic log files
Controller working Log files
Controller verification report
Log Archive Server / DB
PLC Honey Pot Monitor LAN
Monitor Data processing server
Monitor dashboard server
Subsystem log report (FTP)
Honeypot overview dashboard
Components state dashboard
System Log data dashboard
Blue Team Defender
Red Team Attackers
Attack detection
Attack path/flow analysis
Red Team Engineer
FDI-OT-Attack S7comm request
Customized Ladder logic module
Python PLC Honeypot Project : System Structure and Workflow Overview Diagram
Customized Ladder Logic Module

## Slide 4
Honeypot PLC Simulator VM
PLC Emulation Program
PLC Config Web interface module
PLC Modbus/S7Comm Service module
PLC Ladder logic execution module
Honeypot monitor report module
Port 8080
Port 502/102
Flask thread
OT Comm thread
Function thread
Report thread
Ladder logic module
PLC Register / Coil / Memory Module
Deception Ecostruxure PLC Config UI
Deception SAMTIC PLC Config UI
PLC Remote Controller VM
Http(s)
ModBus-TCP
Or
S7Comm
Local log storage
Access and Config log
PLC request control log
System operation log
PLC Log Archive Client
Log files management module
Log data synchronize module
Data manager thread
File transmission thread
Log Data Archive VM
FTP
Port 8081
Http(s)
OT Honeypot Network
Orchestration Network
Port 5000
Honeypot Monitor VM
Design of Honeypot PLC Emulator

## Slide 5
PLC Controller VM
Ladder logic module
Config File
PLC Controller Program (Modbus-TCP)
PLC Emulator VM
PLC Controller VM
Ladder logic module
Config File
PLC Controller Program (Modbus-TCP)
PLC Emulator VM-00
PLC Emulator VM-01
PLC Emulator VM-02
PLC Controller VM
PLC Controller Program (Modbus-TCP)
PLC Emulator VM-00
PLC Controller Program (Modbus-TCP)
PLC Emulator VM-0N
PLC Controller VM
PLC Controller Program (Modbus-TCP)
PLC Emulator VM-00
PLC Controller Program (S7Comm)
PLC Emulator VM-0N
…
One to One Connection
One to N Connection
N to N Connection
Mixed OT Protocol Connection

## Slide 6
Honeypot PLC Controller VM
PLC Controller Program
PLC Modbus/S7Comm Client module
Controller Ladder logic execution module
Honeypot monitor report module
OT Comm thread
Function thread
Report thread
Same Ladder logic module as target PLC
PLC Register / Coil / Memory Simulation
Local log storage
PLC request control log
System operation log
PLC Log Archive Client
Log files management module
Log data synchronize module
Data manager thread
File transmission thread
Log Data Archive VM
FTP
Port 8081
Http(s)
Orchestration Network
Port 5000
Honeypot Monitor VM
Design of Honeypot PLC Remote Controller
Verification Result
Port 502/102
PLC Emulator
VM-01
PLC Emulator
VM-0N
OT Honeypot Network
Modbus-TCP
S7Comm

## Slide 7
Schneider Electric EcoStruxure Machine Expert M22X PLC Configuration Interface
Honeypot Deception PLC Configuration Web Interface

## Slide 8
Siemens SIMATIC S7-1200 / S7-1500 Web Server
Honeypot Deception PLC Configuration Web Interface

## Slide 9
Honeypot Deception PLC Main Landing Page
Honeypot Deception PLC Access Permission Config Page
Honeypot Deception PLC I/O state and ladder logic page
Honeypot Deception PLC User Configuration page

## Slide 10
Honeypot Deception S71200 PLC Main Landing Page
Honeypot Deception S71200 PLC I/O state, memory and ladder logic page
Honeypot Deception S71200 PLC User Configuration page
Honeypot Deception S71200 PLC Introduction Page